## Rack
LISTA RACK
Nome | Posizione | Codice | Descrizione
ISPDA-A01 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A02 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A03 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A04 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A05 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A06 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
R-11 (Elemento cieco) | Isola A Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDA-A07 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A08 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A09 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-A10 | Isola A Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B01 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B02 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B03 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B04 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B05 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B06 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
R-11 (Elemento cieco) | Isola A Fila B/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDA-B07 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B08 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B09 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDA-B10 | Isola A Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
R-2 (Elemento cieco) | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A00 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A01 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A02 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A03 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A04 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A05 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A06 | Isola B Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDB-A (Elemento cieco) | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A07 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A08 | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-A09 | Isola B Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDB-A10 | Isola B Fila A/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
R-19 (Elemento cieco) | Isola B Fila A/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-B00 | Isola B Fila B/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-B01 | Isola B Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDB-B02 | Isola B Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
ISPDB-B03 | Isola B Fila B/Sala Server/ | AR3350 | Netshelter SX 42u 750mm Wide X 1200mm Deep Enclosure
R-12 (Elemento cieco) | Isola B Fila B/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure
ISPDB-B10 | Isola B Fila B/Sala Server/ | AR3300 | Netshelter SX 42u 600mm Wide X 1200mm Deep Enclosure

## InRow
LISTA INROW
Nome | Posizione | Codice | Descrizione
InRow A1A | Isola A Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A2A | Isola A Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A3A | Isola A Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A4A | Isola A Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A5A | Isola A Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A1B | Isola A Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A2B | Isola A Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A3B | Isola A Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A4B | Isola A Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow A5B | Isola A Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B1A | Isola B Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B2A | Isola B Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B3A | Isola B Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B4A | Isola B Fila A/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B1B | Isola B Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B2B | Isola B Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B3B | Isola B Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V
InRow B4B | Isola B Fila B/Sala Server/ | ACRC301H | InRow RC Chilled Water, 230V

## RPDU
LISTA RPDU
Nome | Posizione | Codice | Descrizione
RPDUAA01L(172.25.96.28) | Left-rear/ISPDA-A01/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA01R(172.25.96.29) | Right-rear/ISPDA-A01/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA02L(172.25.96.26) | Left-rear/ISPDA-A02/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA02R(172.25.96.27) | Right-rear/ISPDA-A02/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA03L(172.25.96.24) | Left-rear/ISPDA-A03/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA03R(172.25.96.25) | Right-rear/ISPDA-A03/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA04L(172.25.96.22) | Left-rear/ISPDA-A04/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA04R(172.25.96.23) | Right-rear/ISPDA-A04/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA05L(172.25.96.20) | Left-rear/ISPDA-A05/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA05R(172.25.96.21) | Right-rear/ISPDA-A05/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA06L(172.25.96.18) | Left-rear/ISPDA-A06/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA06R(172.25.96.19) | Right-rear/ISPDA-A06/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA07L(172.25.96.16) | Left-rear/ISPDA-A07/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA07R(172.25.96.17) | Right-rear/ISPDA-A07/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA08L(172.25.96.14) | Left-rear/ISPDA-A08/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA08R(172.25.96.15) | Right-rear/ISPDA-A08/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA09L(172.25.96.12) | Left-rear/ISPDA-A09/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA09R(172.25.96.13) | Right-rear/ISPDA-A09/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA10L(172.25.96.10) | Left-rear/ISPDA-A10/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAA10R(172.25.96.11) | Right-rear/ISPDA-A10/Isola A Fila A/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB01L(172.25.96.48) | Left-rear/ISPDA-B01/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB01R(172.25.96.49) | Right-rear/ISPDA-B01/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB02L(172.25.96.46) | Left-rear/ISPDA-B02/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB02R(172.25.96.47) | Right-rear/ISPDA-B02/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB03L(172.25.96.44) | Left-rear/ISPDA-B03/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB03R(172.25.96.45) | Right-rear/ISPDA-B03/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB04L(172.25.96.42) | Left-rear/ISPDA-B04/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB04R(172.25.96.43) | Right-rear/ISPDA-B04/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB05L(172.25.96.40) | Left-rear/ISPDA-B05/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB05R(172.25.96.41) | Right-rear/ISPDA-B05/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB06L(172.25.96.38) | Left-rear/ISPDA-B06/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB06R(172.25.96.39) | Right-rear/ISPDA-B06/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB07L(172.25.96.36) | Left-rear/ISPDA-B07/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB07R(172.25.96.37) | Right-rear/ISPDA-B07/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB08L(172.25.96.34) | Left-rear/ISPDA-B08/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB08R(172.25.96.35) | Right-rear/ISPDA-B08/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB09L(172.25.96.32) | Left-rear/ISPDA-B09/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB09R(172.25.96.33) | Right-rear/ISPDA-B09/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB10L(172.25.96.30) | Left-rear/ISPDA-B10/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19
RPDUAB10R(172.25.96.31) | Right-rear/ISPDA-B10/Isola A Fila B/Sala Server/ | AP8886 | Rack PDU 2G, Metered, ZeroU, 22.0kW(32A) 17.3kW(24A), 230V, (30) C13 &(12) C19

## Amperometri
LISTA AMPEROMETRI
Nome | Posizione | Codice | Descrizione
Amperometro_RackServzi_A83 RAMO A_Fase 3 (172.25.96.98) | Left-rear/ISPDB-A Rack di servizio/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_RackServzi_B39 RAMO B_Fase 3 (172.25.96.100) | Right-rear/ISPDB-A Rack di servizio/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A00_A75 RAMO A_Fase 2 (172.25.96.104) | Left-rear/ISPDB-A00/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A00_B48 RAMO B_Fase 2 (172.25.96.97) | Right-rear/ISPDB-A00/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A01_A73 RAMO A_Fase 3 (172.25.96.102) | Left-rear/ISPDB-A01/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A01_B45 RAMO B_Fase 3 (172.25.96.99) | Right-rear/ISPDB-A01/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A02_A80 RAMO A_Fase 2 (172.25.96.108) | Left-rear/ISPDB-A02/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A02_B50 RAMO B_Fase 2 (172.25.96.96) | Right-rear/ISPDB-A02/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A03_A84 RAMO A_Fase 3 (172.25.96.94) | Left-rear/ISPDB-A03/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A03_B41 RAMO B_Fase 3 (172.25.96.91) | Right-rear/ISPDB-A03/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A04_A85 RAMO A_Fase 3 (172.25.96.140) | Left-rear/ISPDB-A04/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A04_A89 RAMO A_Fase 3 (172.25.96.147) | Left-rear/ISPDB-A04/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A04_B52 RAMO B_Fase 3 (172.25.96.141) | Right-rear/ISPDB-A04/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A04_B40 RAMO B_Fase 2 (172.25.96.146) | Right-rear/ISPDB-A04/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A05_A67 RAMO A_Fase 3 (172.25.96.143) | Left-rear/ISPDB-A05/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A05_A90 RAMO A_Fase 2 (172.25.96.145) | Left-rear/ISPDB-A05/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A05_B38 RAMO B_Fase 2 (172.25.96.142) | Right-rear/ISPDB-A05/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A05_B42 RAMO B_Fase 2 (172.25.96.144) | Right-rear/ISPDB-A05/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A07_D21 RAMO A_Fase 2 (172.25.96.169) | Left-rear/ISPDB-A07/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A07_D31 RAMO A_Fase 2 (172.25.96.167) | Left-rear/ISPDB-A07/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A07_B1 RAMO B_Fase 2 (172.25.96.166) | Right-rear/ISPDB-A07/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A07_D46 RAMO B_Fase 3 (172.25.96.168) | Right-rear/ISPDB-A07/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A08_D4 RAMO A_Fase 2 (172.25.96.93) | Left-rear/ISPDB-A08/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A08_D5 RAMO A_Fase 2 (172.25.96.106) | Left-rear/ISPDB-A08/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A08_D71 RAMO B_Fase 3 (172.25.96.107) | Right-rear/ISPDB-A08/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A08_D72 RAMO B_Fase 3 (172.25.96.92) | Right-rear/ISPDB-A08/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A09_D34 RAMO A_Trifase (172.25.96.163) | Left-rear/ISPDB-A09/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A09_B2 RAMO B_Trifase (172.25.96.164) | Right-rear/ISPDB-A09/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A10_D30 RAMO A Non Collegato (172.25.96.157) | Left-rear/ISPDB-A10/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-A10_B4 RAMO B Non Collegato (172.25.96.158) | Right-rear/ISPDB-A10/Isola B Fila A/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B00_A88 RAMO A_Fase 3 (172.25.96.101) | Left-rear/ISPDB-B00/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B00_B49 RAMO B_Fase 2 (172.25.96.103) | Right-rear/ISPDB-B00/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B01_A61 RAMO A_Trifase (172.25.96.159) | Left-rear/ISPDB-B01/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B01_B36 RAMO B_Trifase (172.25.96.162) | Right-rear/ISPDB-B01/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B02_A60 RAMO A_Fase 3 (172.25.96.165) | Left-rear/ISPDB-B02/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B02_A72 RAMO A_Fase 3 (172.25.96.152) | Left-rear/ISPDB-B02/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B02_B28 RAMO B_Fase 3 (172.25.96.148) | Right-rear/ISPDB-B02/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B02_B31 RAMO B_Fase 2 (172.25.96.161) | Right-rear/ISPDB-B02/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B03_A63 RAMO A_Non Collegato (172.25.96.160) | Left-rear/ISPDB-B03/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B03_A71 RAMO A_Fase 3 (172.25.96.149) | Left-rear/ISPDB-B03/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B03_B27 RAMO B_Fase 2 (172.25.96.150) | Right-rear/ISPDB-B03/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B03_B43 RAMO B_Non Collegato (172.25.96.95) | Right-rear/ISPDB-B03/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B04_D12 RAMO A_Fase 1 (172.25.96.155) | Left-rear/ISPDB-B04 (vplexpd1)/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B04_D42 RAMO B_Fase 3 (172.25.96.153) | Right-rear/ISPDB-B04 (vplexpd1)/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B05_D11 RAMO A_Fase 2 (172.25.96.74) | Left-rear/ISPDB-B05/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B05_D13 RAMO A_Fase 3 (172.25.96.76) | Left-rear/ISPDB-B05/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B05_D45 RAMO B_Fase 3 (172.25.96.77) | Right-rear/ISPDB-B05/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B05_D66 RAMO B_Fase 2 (172.25.96.75) | Right-rear/ISPDB-B05/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B06_D32 RAMO A_Fase 1 (172.25.96.70) | Left-rear/ISPDB-B06/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B06_D9 RAMO A_Fase 3 (172.25.96.72) | Left-rear/ISPDB-B06/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B06_D69 RAMO B_Fase 2 (172.25.96.73) | Right-rear/ISPDB-B06/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B06_D70 RAMO B_Fase 2 (172.25.96.71) | Right-rear/ISPDB-B06/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B07_D8 RAMO A_Trifase (172.25.96.84) | Left-rear/ISPDB-B07/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B07_D60 RAMO B_Trifase (172.25.96.85) | Right-rear/ISPDB-B07/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B08_D7 RAMO A_Trifase (172.25.96.82) | Left-rear/ISPDB-B08/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B08_D65 RAMO B_Trifase (172.25.96.83) | Right-rear/ISPDB-B08/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B09_D3 RAMO A_Trifase (172.25.96.80) | Left-rear/ISPDB-B09/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B09_D55 RAMO B_Trifase (172.25.96.81) | Right-rear/ISPDB-B09/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B10_D27 RAMO A_Trifase (172.25.96.109) | Left-rear/ISPDB-B10/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G
Amperometro_ISPDB-B10_D47 RAMO B_Trifase (172.25.96.105) | Right-rear/ISPDB-B10/Isola B Fila B/Sala Server/ | AP7175 | In-Line Current Meter, 32A, 230V, IEC309-32A 3-PH, 3P+N+G

## NetBotz
LISTA NETBOTZ
Nome | Posizione | Codice | Descrizione
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-A01/Isola A Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-A03/Isola A Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-A05/Isola A Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-A07/Isola A Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Monitor 200 (with 120/240V Power Supply) | B-42/ISPDA-A09/Isola A Fila A/Sala Server/ | NBRK0201 | NetBotz Rack Monitor 200 (with 120/240V Power Supply)
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-B01/Isola A Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-B03/Isola A Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-B05/Isola A Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/ISPDA-B07/Isola A Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Monitor 200 (with 120/240V Power Supply) | B-42/ISPDA-B09/Isola A Fila B/Sala Server/ | NBRK0201 | NetBotz Rack Monitor 200 (with 120/240V Power Supply)
NetBotz Rack Sensor Pod 150 | B-37/ISPDB-A Rack di servizio/Isola B Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-38/ISPDB-A Rack di servizio/Isola B Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-39/ISPDB-A Rack di servizio/Isola B Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-41/R-2/Isola B Fila A/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Monitor 200 (with 120/240V Power Supply) | B-42/R-2/Isola B Fila A/Sala Server/ | NBRK0201 | NetBotz Rack Monitor 200 (with 120/240V Power Supply)
NetBotz Rack Sensor Pod 150 | B-41/ISPDB-B00/Isola B Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Monitor 200 (with 120/240V Power Supply) | B-42/ISPDB-B00/Isola B Fila B/Sala Server/ | NBRK0201 | NetBotz Rack Monitor 200 (with 120/240V Power Supply)
NetBotz Rack Sensor Pod 150 | B-41/R-12/Isola B Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150
NetBotz Rack Sensor Pod 150 | B-42/R-12/Isola B Fila B/Sala Server/ | NBPD0150 | NetBotz Rack Sensor Pod 150

## Sensori Ambientali
LISTA SENSORI AMBIENTALI
Nome | Posizione | Codice | Descrizione | Quantità
Sensore Fluidi | Sottopavimento | NBES0308 | Sensore di fluidi locale Netbotz | 4
Sensore di Temperatura | Fronte dei Rack | AP9335T | APC temperature sensor | 123
Sensore di Temperatura ed Umidità | Fronte dei Rack | AP9335TH | APC temperature/humidity sensor | 40

## Apparati non APC
LISTA APPARATI NON APC
Nome | Posizione | Codice | Descrizione | Quantità
Rilevatore Ottico Fumi | Corridoio Isole | RIL 123 | Rilevatore ottico fumi – unito al relè RIL124 | 2
Illuminazione Corridoio | Distribuiti nelle 2 Isole | VPOD | Sistema di illuminazione corridoio | 8

## Apparati esterni
LISTA APPARATI ESTERNI
Nome | Posizione | Codice | Descrizione
Netbotz 250 | 6° piano | Netbotz250 | Collegato direttamente ai contatti del sistema di allarme delle pompe e dei Chiller

## SW StruxureWare
SW STRUXUREWARE
Nome SW | Versione | Descrizione
Schneider Electric Data Center Expert | 7.4.3 | SW di Monitoraggio e gestione dispositivi
Schneider Electric Data Center Operation | 7.5.0 | SW di Asset e Capacity Management